## Sheet1
IndusMach Industries - Security Exception Register (30 Exceptions)
Exception ID | Asset ID | Factory ID | Associated Risk ID | Security Policy Requirement | Reason for Exception | Business Justification | Compensating Control ID | Risk Owner | Authorized Approver | Expiration Date | Review Frequency | Exception Status
EXC-001 | AST-OT-004 | FAC-PUN | RSK-OT-001 | Network Segmentation & Encryption Standard §6.1 | Windows 7 Embedded OS unpatchable for MS17-010 without complete machine overhaul. | Immediate patch/upgrade causes 3-week production outage ($1.2M loss). | CMP-001 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-002 | AST-OT-002 | FAC-NAG | RSK-OT-003 | Mandatory Patch Management Policy §4.2 | Unsupported SCADA Application Software (Legacy WinCC v7.0) | Vendor no longer produces security patches for v7.0. | CMP-004 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-003 | AST-IT-003 | FAC-CHE | RSK-IT-004 | Network Segmentation & Encryption Standard §6.1 | Delayed Monthly Patch Window Application | Production line running 24/7 JIT contract for automotive client. | CMP-002 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-004 | AST-OT-004 | FAC-BLR | RSK-OT-005 | Mandatory Patch Management Policy §4.2 | Shared Local Administrator Account on Factory HMI | HMI application vendor architecture mandates single shared login. | CMP-005 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-005 | AST-IT-005 | FAC-AMD | RSK-IT-006 | Network Segmentation & Encryption Standard §6.1 | Unencrypted Modbus TCP Protocol Communication | Legacy PLCs lack hardware support for encrypted CIP Security. | CMP-007 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-006 | AST-OT-006 | FAC-HYD | RSK-OT-007 | Mandatory Patch Management Policy §4.2 | Vendor Remote Access via Legacy SSL VPN | Vendor contract pending update to Claroty SRA jump host portal. | CMP-003 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-007 | AST-IT-007 | FAC-PUN | RSK-IT-008 | Network Segmentation & Encryption Standard §6.1 | Unsupported Legacy Operating System (Windows 7 Embedded) | Immediate patch/upgrade causes 3-week production outage ($1.2M loss). | CMP-001 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-008 | AST-OT-008 | FAC-NAG | RSK-OT-009 | Mandatory Patch Management Policy §4.2 | Unsupported SCADA Application Software (Legacy WinCC v7.0) | Vendor no longer produces security patches for v7.0. | CMP-004 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-009 | AST-IT-009 | FAC-CHE | RSK-IT-010 | Network Segmentation & Encryption Standard §6.1 | Delayed Monthly Patch Window Application | Production line running 24/7 JIT contract for automotive client. | CMP-002 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-010 | AST-OT-010 | FAC-BLR | RSK-OT-011 | Mandatory Patch Management Policy §4.2 | Shared Local Administrator Account on Factory HMI | HMI application vendor architecture mandates single shared login. | CMP-005 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-011 | AST-IT-011 | FAC-AMD | RSK-IT-012 | Network Segmentation & Encryption Standard §6.1 | Unencrypted Modbus TCP Protocol Communication | Legacy PLCs lack hardware support for encrypted CIP Security. | CMP-007 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-012 | AST-OT-012 | FAC-HYD | RSK-OT-013 | Mandatory Patch Management Policy §4.2 | Vendor Remote Access via Legacy SSL VPN | Vendor contract pending update to Claroty SRA jump host portal. | CMP-003 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-013 | AST-IT-013 | FAC-PUN | RSK-IT-014 | Network Segmentation & Encryption Standard §6.1 | Unsupported Legacy Operating System (Windows 7 Embedded) | Immediate patch/upgrade causes 3-week production outage ($1.2M loss). | CMP-001 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-014 | AST-OT-014 | FAC-NAG | RSK-OT-015 | Mandatory Patch Management Policy §4.2 | Unsupported SCADA Application Software (Legacy WinCC v7.0) | Vendor no longer produces security patches for v7.0. | CMP-004 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-015 | AST-IT-015 | FAC-CHE | RSK-IT-016 | Network Segmentation & Encryption Standard §6.1 | Delayed Monthly Patch Window Application | Production line running 24/7 JIT contract for automotive client. | CMP-002 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-016 | AST-OT-016 | FAC-BLR | RSK-OT-017 | Mandatory Patch Management Policy §4.2 | Shared Local Administrator Account on Factory HMI | HMI application vendor architecture mandates single shared login. | CMP-005 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-017 | AST-IT-017 | FAC-AMD | RSK-IT-018 | Network Segmentation & Encryption Standard §6.1 | Unencrypted Modbus TCP Protocol Communication | Legacy PLCs lack hardware support for encrypted CIP Security. | CMP-007 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-018 | AST-OT-018 | FAC-HYD | RSK-OT-019 | Mandatory Patch Management Policy §4.2 | Vendor Remote Access via Legacy SSL VPN | Vendor contract pending update to Claroty SRA jump host portal. | CMP-003 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-019 | AST-IT-019 | FAC-PUN | RSK-IT-020 | Network Segmentation & Encryption Standard §6.1 | Unsupported Legacy Operating System (Windows 7 Embedded) | Immediate patch/upgrade causes 3-week production outage ($1.2M loss). | CMP-001 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-020 | AST-OT-020 | FAC-NAG | RSK-OT-001 | Mandatory Patch Management Policy §4.2 | Unsupported SCADA Application Software (Legacy WinCC v7.0) | Vendor no longer produces security patches for v7.0. | CMP-004 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-021 | AST-IT-021 | FAC-CHE | RSK-IT-002 | Network Segmentation & Encryption Standard §6.1 | Delayed Monthly Patch Window Application | Production line running 24/7 JIT contract for automotive client. | CMP-002 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-022 | AST-OT-022 | FAC-BLR | RSK-OT-003 | Mandatory Patch Management Policy §4.2 | Shared Local Administrator Account on Factory HMI | HMI application vendor architecture mandates single shared login. | CMP-005 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-023 | AST-IT-023 | FAC-AMD | RSK-IT-004 | Network Segmentation & Encryption Standard §6.1 | Unencrypted Modbus TCP Protocol Communication | Legacy PLCs lack hardware support for encrypted CIP Security. | CMP-007 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-024 | AST-OT-024 | FAC-HYD | RSK-OT-005 | Mandatory Patch Management Policy §4.2 | Vendor Remote Access via Legacy SSL VPN | Vendor contract pending update to Claroty SRA jump host portal. | CMP-003 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-025 | AST-IT-025 | FAC-PUN | RSK-IT-006 | Network Segmentation & Encryption Standard §6.1 | Unsupported Legacy Operating System (Windows 7 Embedded) | Immediate patch/upgrade causes 3-week production outage ($1.2M loss). | CMP-001 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-026 | AST-OT-026 | FAC-NAG | RSK-OT-007 | Mandatory Patch Management Policy §4.2 | Unsupported SCADA Application Software (Legacy WinCC v7.0) | Vendor no longer produces security patches for v7.0. | CMP-004 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-027 | AST-IT-027 | FAC-CHE | RSK-IT-008 | Network Segmentation & Encryption Standard §6.1 | Delayed Monthly Patch Window Application | Production line running 24/7 JIT contract for automotive client. | CMP-002 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-028 | AST-OT-028 | FAC-BLR | RSK-OT-009 | Mandatory Patch Management Policy §4.2 | Shared Local Administrator Account on Factory HMI | HMI application vendor architecture mandates single shared login. | CMP-005 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-029 | AST-IT-029 | FAC-AMD | RSK-IT-010 | Network Segmentation & Encryption Standard §6.1 | Unencrypted Modbus TCP Protocol Communication | Legacy PLCs lack hardware support for encrypted CIP Security. | CMP-007 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)
EXC-030 | AST-OT-030 | FAC-HYD | RSK-OT-011 | Mandatory Patch Management Policy §4.2 | Vendor Remote Access via Legacy SSL VPN | Vendor contract pending update to Claroty SRA jump host portal. | CMP-003 | Plant Manager / IT Director | CISO & VP Operations | 2026-11-30 | Quarterly | Active (Approved)